## Slide 1
Annual "Humies" Awards For Human-Competitive Results
GECCO 2017
Electrocardiography: Is that what we think?
The study of recording Wilson Central Terminal and computing a “New” reference point for human body
Hossein Moeinzadeh
h.moeinzadeh@westernsydney.edu.au

## Slide 2: What we really know?
“Machines will be capable, within twenty years, of doing any work a man can do”
– Herbert Simon, 1956.
(Picture Adopted from [2])
Earth is flat, and is the center of the universe. (Picture adopted from [1])

## Slide 3: What could be the consequences?
Many children in the 1960's were born with phocomelia as a side effect of the drug thalidomide, resulting in the shortening or absence of limbs.
(Picture Adopted from [3])

## Slide 4: Electrocardiography (ECG)
ECG is the most widely used non-invasive tool to diagnose cardiac diseases.
(Picture Adopted from [4])

## Slide 5: Wilson Central Terminal
Precordial leads are calculated using WCT, defined as:
Precordials

## Slide 6: Systematic Error in ECG recording
Bayley and Kinard Experiment [5]
Measuring WCT by putting a human body in a metal structure submerged into a sealed chamber filled with water.
Assumed to be near zero and steady during the cardiac cycle
Electrocardiography is biased by a systematic error and this is known since 1946

## Slide 7: Systematic Error in ECG recording
In the original experiment they tried to manually fix the biasing…
Bayley and Kinard Experiment [6]

## Slide 8: 15 Lead ECG device
15-lead ECG device that aside from the standard 12-lead signals can record the WCT components

## Slide 9: “New Central Terminal”, a new reference voltage potential for the human body
15 Lead ECG
Recording
Genetic Algorithm
Linear Regression
Real Time Data
NCT(Training)
First 1000
Samples
We used a Genetic Algorithm and a Linear regression model to automatically minimize the Wilson Central Terminal

## Slide 10: Which one is more informative?
We are the only one who could record the real ECG.

## Slide 11: Why we are the Best?
After 60 years, we are finally capable of recording Wilson Central Terminal

## Slide 12: Why we are the Best?
We finally could find the three values to reduce the amplitude of Wilson Central Terminal for every individual patient automatically, and in real time.

## Slide 13: Why we are the Best?
The new ECG recording device registered as a patent.

## Slide 14: References
[1] | www.truththeory.com
[2] | www.digitaltrends.com
[3] | www.helix.northwestern.edu
[4] | www.keckmedicine.adam.com
[5] | Bayley, R. H. and C. L. Kinard (1954). "The zero of potential of the electrical field produced by the heart beat; the problem with reference to the living human subject." Circulation Research 2(2): 104-111.
[6] | Bayley, R. H., et al. (1954). "The zero of potential of the electric field produced by the heart beat; the problem with reference to homogenous volume conductors." Circulation Research 2(1): 4-13.